## Version
Pod | Site
Apply to
|  | Date created | 2020-03-21

## composer
name | userName | password | authenticationDomain | api_version
# Generate oneview_config.json
# Use this sheet to define settings forOneView connections
# If the row starts with '#' it will be ignored by the script
# For specific settings - See Definition below
# IP address of OneView | #username | #password | # default: local | X-API version: #OV 4.20 --> 1000 # OV 5.0 --> 1200
# Define composer address and credential
10.254.3.187 | administrator | password | local | 1200

## NotUsed-smtp
senderEmailAddress | password | smtpServer | smtpPort | smtpProtocol | alertEmailDisabled | alertEmailFilters
# Configure SMTP
# Use this sheet to define settings for SMTP
# If the row starts with '#' it will be ignored by the script
# For specific settings - See Definition below
#Email address | #password | #IP or name of smtp Server | # Port used on smtp server | # Protocol used: http or https

## NotUsed-proxy
server | port | protocol | username
# Configure proxy
# Use this sheet to define settings for proxy
# If the row starts with '#' it will be ignored by the script
# For specific settings - See Definition below
| # port | # protocol
http.server-swg.oneadr.net | 8080 | http

## timeLocale
locale | timezone | ntpServers | pollingInterval | syncWithHost
# time and locale setttings
en_US | UTC | 10.152.0.2¦10.152.0.6 |  | FALSE

## NotUsed-backupConfig
enabled | remoteServerName | remoteServerDir | protocol | userName | password | scheduleInterval | scheduleDays | scheduleTime | remoteServerPublicKey
#Backup configuration
# TRUE if remote backup enabled | # Name or IP of remote server used for backup | # Folder on remote server to store backup files | # Protocol used for transfer | # Credential for access remote server | # Credential for access remote server | # Backup Schedule - Frequency # Weekly #Daily | # Backup Schedule - Days #if weekly, specify list of days with '¦'as separator Ex: SU¦MO¦FR¦SA | # Backup Schedule - time # use 24 hours of clock #Ex: 8:00 or 14:00 #Note: set the column format as text | # Public key generated by remote server
TRUE | is-sftp1p.oneadr.net | VOE-P-POD13 | SCP | sftpusrhp | ***REDACTED*** | DAILY |  | 14:00 | ecdsa-sha2-nistp256 AAAAE2VjZHNhLXNoYTItbmlzdHAyNTYAAAAIbmlzdHAyNTYAAABBBHHyz/UQwkCyAicjKn2tcQAjSdURRnYV6DT2b7Cubm6/MMKguRMXoHpavUVVoQHdLYmdRy+tlpZof616Ahee1Ys=

## firmwareBaseline
name | filename
#Configure Firmware Bundle
# Use this sheet to define settings for firmware bundle to be created in OneView.
# If the row starts with '#' it will be ignored by the script
# For specific settings - See Definition below
# name of the SPP bundle | # location and name of the iso # example /home/ansible/bin/SPP2017040.2017_0420.14.iso
HPE_Synergy_Custom_SPP_2019.12.20200125_Z7550-96824 | HPE_Synergy_Custom_SPP_2019.12.20200125_Z7550-96824.iso

## NotUsed-repository
name | protocol | hostName | directory | username | password | certificate
#Configure external repository
# Use this sheet to define settings for external repository to be created in OneView.
# If the row starts with '#' it will be ignored by the script
# For specific settings - See Definition below
# name of the repository | # True = http #default (blank or false) : https # if True , certificate must be specified | # Specify url with IPv4 Address or FQDN of the target web server | # parent virtual directory where the baseline components will be kept |  |  | #The Base64 Certificate of the target web server. Must be specified if the -HTTP parameter is not used
External | TRUE | vdd1ge0515.oneadr.net | SYNERGY

## AddressPool
name | poolType | rangeType | deleteGenerated | startAddress | endAddress | networkId | subnetmask | gateway | dnsServers | domain
#Configure Address Pool
# Use this sheet to define settings for Address Pool to be created in OneView.
# If the row starts with '#' it will be ignored by the script
# For specific settings - See Definition below
# Pool Name | # Specify the Pool Type the new Range will be assigned to. # Accepted values are # VMAC # VWWN # VSN # IPV4 (N/A for C7000) | # The type of Address Range to create (N/A for IPV4 pool) # Accepted values are # Generated # Custom | # TRUE ---> after creation of Custom range, will delete Generated ranges # TRUE/FALSE # Default: FALSE # Do not apply for IP ranges | # Start Address # list of startAddress separated by '¦' | # End Address # list of endAddress separated by '¦' | # N/A for C7000 # for IPV4 range only | # N/A for C7000 | # N/A for C7000 # Gateway IP address | # N/A for C7000 # List of DNS Servers separated by '¦' | # N/A for C7000 # Domain name of the Network Subnet
VWWN | VWWN | Generated | FALSE
VMAC | VMAC | Generated | FALSE
VSN | VSN | Generated | FALSE
prod_subnet | IPV4 |  |  | 192.168.10.21¦192.168.10.100 | 192.168.10.50¦192.168.10.150 | 192.168.10.0 | 255.255.255.0 | 192.168.10.254 |  | mgmt.lan
deploy_subnet | IPV4 |  |  | 192.168.20.21 | 192.168.20.50 | 192.168.20.0 | 255.255.255.0 | 192.168.20.254 |  | deployment.lan

## Scope
name | description
# Configure scopes
# Use this sheet to define settings for scopes to be created in OneView.
# If the row starts with '#' it will be ignored by the script
# For specific settings - See Definition below
# name | # description
FinanceScope | Finance Scope of Resources

## NotUsed-User
type | name | password | fullName | roles | permissions | emailAddress | officePhone | mobilePhone | default | language | notes
#Configure oneView users and Remote Support contacts
# Use this sheet to define settings for oneView users or Remote Support contacts. Most of the attributes are common so they are shared in the same sheet
# If the row starts with '#' it will be ignored by the script
# For specific settings - See Definition below
|  | OV user only |  | OV user only | OV user only |  |  | OV user only | RemoteSupport contact only | RemoteSupport contact only | RemoteSupport contact only
#Possible values # OV --> to create a local user in OneView # RS --> to create remote support contact | # name for OV user # Used as firstname for remote support contact | # apply only for OV user | # Used as Last name for remote support contact | # Roles as of OV 5.0 # Note: Use '¦'as separator # Role must not be empty # Backup administrator # Infrastructure administrator # Read only # Scope administrator # Scope operator # Network administrator # Server administrator # Server firmware operator # Server profile architect # Server profile administrator # Server profile operator # Storage administrator # Software administrator | #permisison for user on each scope # Format example: role=network administrator;scope=networks¦role=server administrator;scope=servers # role=Read only;scope= All Resources |  | #used as primaryphone for remote support contact |  | # If TRUE, remote support contact will be primary | # primary spoken language | # contacts special instructions
# This section is used to define OV local users
OV | LANO | P@ssword1 | LANO Server Administrator | Server administrator
OV | LANOCAP | P@ssword1 | CAP Administrator | Software Administrator
# This section is used to define Remote Support Contacts
#RS
#RS

## NotUsed-remoteSupport
enable | companyName | insightOnlineUsername | insightOnlinePassword | OptimizeOptIn
# Configure Remote Support
# Use this sheet to define settings for Remote Support
# If the row starts with '#' it will be ignored by the script
# For specific settings - See Definition below
#TRUE/FALSE |  | #username | #password | # Opt-in to allow HPE marketing to discuss datacenter optimization. # TRUE/FALSE

## NotUsed-snmpV3User
snmpV3User | applianceSnmp | securityLevel | authenticationProtocol | authenticationPassword | privacyProtocol | privacyPassword
#Configure snmp trap
# Use this sheet to define settings for snmp v3users to be created in OneView.
# If the row starts with '#' it will be ignored by the script
# For specific settings - See Definition below
# Specify snmpV3 user name to be created | # if TRUE create snmpV3user for the appliance snmp # if blank, create snmpV3user for LIG snmp | # Specify snmpV3 security level for each user #Possible values: #None #AuthOnly #AuthAndPriv | # Possible values are: # None # MD5 # SHA1 # SHA256 # SHA384 # SHA512 | # password for each user using Auth Protocol | # Possible values are: # None # des56 # 3des # aes128 # aes192 # aes256 | # password for each user using privacy Protocol
# This section is used to define snmpV3User for the appliance
ovDung | TRUE | None
ovDung3 | TRUE | AuthAndPriv | SHA1 | P@ssword1 | des56 | P@ssword1
ovDung2 | TRUE | AuthOnly | MD5 | P@ssword1
# This section is used to define snmpV3User for LIG
ligDung |  | None
ligDung3 |  | AuthAndPriv | SHA1 | P@ssword1 | des56 | P@ssword1
ligDung2 |  | AuthOnly | MD5 | P@ssword1

## NotUsed-snmpTrap
type | destination | port | snmpType | communityString | snmpV3User | notificationType | engineID | ligName
#Configure snmp trap
# Use this sheet to define settings for snmp trap to be created for the appliance and for LIG
# If the row starts with '#' it will be ignored by the script
# For specific settings - See Definition below
[6 empty] | LIG snmp only | LIG snmp only | LIG snmp only
# type --> OV : definitions will be used to create snmp resources for the appliance # type --> LIG : definitiions will be used to create snmp resources for logical interconnect group | # list of trap destination IP addresses | # list of trap destination port number | # for each trap, specify snmp type Possible values: # for Appliance snmp # snmpV1 # snmpV3 # for LIG snmp # snmpV1 # snmpV2 # snmpV3 | # name of community String | # Name of snmpv3 user. Note: snmpv3 user must exist prior to create snmpV3 trap. Otherwise create snmpUser first | # Possible values # Inform # Trap | # if notificationType = Inform # then specifiy engineId | # Specify LIG name where trap/users are configured
# This section is used to define snmp Trap for the appliance
OV | 10.254.14.251 | 162 | snmpV1 | public
OV | 10.254.14.252 | 162 | snmpV3 |  | sDung
# This section is used to define snmp Trap for LIG
LIG | 10.254.14.251 | 162 | snmpV1 | public
LIG | 10.254.14.252 | 162 | snmpV3 |  | ligDung3 | Inform | 3eft | VC_F8-Tunnel
LIG | 10.254.14.256 | 162 | snmpV3 |  | ligDung6 | Trap |  | VC_F8-Tunnel

## NETWORKING section
Networking folder divider

## EthernetNetwork
name | type | vlanId | ethernetNetworkType | subnetID | ipV6subnetID | typicalBandwidth | maximumBandwidth | smartLink | privateNetwork | purpose | scopes
# Network Name | #Ethernet | # Valid range: # [2, 4095] | # Possible Values: # Tagged (Default) # Untagged # Tunnel | # N/A for C7000 # IPV4 SubnetID as defined in Addresses and Identifiers | # N/A for C7000 # IPV6 SubnetID as defined in Addresses and Identifiers | # Typical bandwidth in Gbps | # Maximum bandwidth in Gbps | # True / False | # True / False | # General # Management # VMMigration # FaultTolerance # ISCSI | # List of scopes separated by '¦' # Use '¦' as separator
Management | Ethernet | 180 | Tagged | 192.168.10.0 |  | 2.5 | 20 | FALSE | FALSE | Management
Deployment | Ethernet | 181 | Tagged | 192.168.20.0 |  | 2.5 | 20 | FALSE | FALSE | General
PROD_116 | Ethernet | 116 | Tagged |  |  | 2.5 | 20 | FALSE | FALSE |  | FinanceScope
PROD_150 | Ethernet | 150 | Tagged |  |  | 2.5 | 20 | FALSE | FALSE |  | FinanceScope
PROD_160 | Ethernet | 160 | Tagged |  |  | 2.5 | 20 | FALSE | FALSE |  | FinanceScope
PROD_170 | Ethernet | 170 | Tagged |  |  | 2.5 | 20 | FALSE | FALSE |  | FinanceScope
PROD_210 | Ethernet | 210 | Tagged |  |  | 2.5 | 20 | FALSE | FALSE |  | FinanceScope
PROD_220 | Ethernet | 220 | Tagged |  |  | 2.5 | 20 | FALSE | FALSE |  | FinanceScope
PROD_221 | Ethernet | 221 | Tagged |  |  | 2.5 | 20 | FALSE | FALSE |  | FinanceScope
PROD_230 | Ethernet | 230 | Tagged |  |  | 2.5 | 20 | FALSE | FALSE |  | FinanceScope
PROD_240 | Ethernet | 240 | Tagged |  |  | 2.5 | 20 | FALSE | FALSE |  | FinanceScope

## FCNetwork
name | type | fabricType | managedSan | vlanId | typicalBandwidth | maximumBandwidth | autoLoginRedistribution | linkStabilityTime | scopes
#Configure Fibre Channel networks
# Use this sheet to define settings for FC networks to be created in OneView.
# If the row starts with '#' it will be ignored by the script
# For specific settings - read the comments on the first cell in the column for possible values
# ManagedSAN not used yet
# For specific settings - See Definition below
# | # FC # FCOE | # Required only if Type= FC # Possible values: # FabricAttach (default) # DirectAttach | # Name of Storage Systems | # Required if Type = FCOE | # Typical bandwidth in Gbps | # Maximum bandwidth in Gbps | # Required only if Type= FC # Possible values: # True # False | # Required only if Type= FC # Default = 30 | # List of scopes separated by '¦' # Use '¦' as separator
FC_A | fc | FabricAttach |  |  | 8 | 20 | TRUE | 30
FC_B | fc | FabricAttach |  |  | 8 | 20 | TRUE | 30
FCOE | fcoe |  |  | 1206 | 9 | 19

## NetworkSet
name | typicalBandwidth | maximumBandwidth | networkSetType | networks | nativeNetwork | scopes
#Configure network sets
# Use this sheet to define settings for network sets to be created in OneView.
# If the row starts with '#' it will be ignored by the script
# For specific settings - See Definition below
# Networkset name | # Typical bandwidth in Gbps | # Maximum bandwidth in Gbps | # Regular = network set cpntains up to 1 000 members # Large = network set cpntains up to 4034 members # Default value : Regular | # List of network names # Use '¦' as separator | # Untagged Network | # List of scopes # Use '¦' as separator
Production Networks | 2.5 | 20 | Regular | PROD_116¦PROD_150¦PROD_160¦PROD_170¦PROD_210¦PROD_220¦PROD_221¦PROD_230¦PROD_240

## LogicalInterconnectGroup
name | frameCount | interconnectBaySet | enclosureType | fabricModuleType | bayConfig | redundancyType | internalNetworks | consistencyCheckingForInternalNetworks | interconnectConsistencyChecking | enableIgmpSnooping | igmpIdleTimeoutInterval | enableFastMacCacheFailover | macRefreshInterval | enableNetworkLoopProtection | enablePauseFloodProtection | enableRichTLV | enableTaggedLldp | lldpIpAddressMode | lldpIpv4Address | lldpIpv6Address | enableStormControl | stormControlPollingInterval | stormControlThreshold | qosconfigType | downlinkClassificationType | uplinkClassificationType | scopes
#Configure Logical InterConnect Group
# Use this sheet to define settings for Logical InterConnect Group to be created in OneView.
# If the row starts with '#' it will be ignored by the script
# For specific settings -see defintion below
# LIG name | # Number of Frames | # Define Interconnect module placement: # 1 --> Bay 1, 4 # 2 --> Bay 2, 5 # 3 --> Bay 3,6 | # Synergy --> SY12000 | # SEVC40F8 - Virtual Connect SE 40Gb F8 Module for Synergy # SEVC100F32 - Virtual Connect SE 100Gb F32 Module for Synergy # SEVC16GbFC - Virtual Connect SE 16Gb FC Module for Synergy # SEVC32GbFC - Virtual Connect SE 32Gb FC Module for Synergy # SE12SAS - Synergy 12Gb SAS Connection Module | # C7000 --> The syntax is {1=Flex2040F8¦2=Flex10…… # Synergy --> The syntax is : Frame# = {Bay1=IC_module_1¦Bay2=IC_Module_2} # Use <Atl><Enter> to add a line inside a cell # Use product name for the InterconnectType # For Powershell, use syntax Frame# = {Bay1=IC_module_1¦Bay2=IC_Module_2} # For python/Ansible use synatx Enclosure# = {Bay1=IC_module_1¦Bay2=IC_Module_2} # Possible values: # Virtual Connect SE40Gb F8 Module for Synergy <--> SEVC40f8 # Virtual Connect SE100Gb F32 Module for Synergy <--> SEVC100f32 # Synergy 50Gb Interconnect Link Module <--> SE50ILM # Synergy 20Gb Interconnect Link Module <--> SE20ILM # Synergy 10Gb Interconnect Link Module <--> SE10ILM # Virtual Connect SE16Gb FC Module for Synergy <--> SEVC16GbFC # Virtual Connect SE32Gb FC Module for Synergy <--> SEVC32GbFC # Synergy 12Gb SAS Connection Module <--> SE12SAS | # N/A for C7000 # For Synergy, possible values: # HighlyAvailable # Redundant (default) # Aside # Bside | # N/A for C7000 # List of network names to be considered as internal network # Use '¦' as separator | # N/A for C7000 # Possible values: # Exact (for ExactMatch) # None (for NotChecked) # Note: Internal name is: consistencyCheckingForInternalNetworks | # N/A for C7000 # Possible values: # Exact (for ExactMatch) # None (for NotChecked) # Note: Internal name is: consistencyChecking on ethenetSettings | # True / False | # Range [1..3600] | # True / False | # Range [1..30] | # True / False | # True / False | # True / False | # True / False | # Possible values: # IPv4 (default) # IPv6 # IPv4AndIPv6 | # If not defined, leave blank | # If not defined, leave blank | # True / False | # Polling Interval in sec | # Threshold | # Possible values: # Passthrough(default) #CustomNoFCoE #CustomWithFCoE | # Specify when configType is CustomNoFCOE or CustomWithFCOE Possible values are: # DOT1P # DSCP # DOT1P_AND_DSCP (Default) | # Specify when configType is CustomNoFCOE or CustomWithFCOE Possible values are: # DOT1P(Default) # DSCP # DOT1P_AND_DSCP | # List of scopes separated by '¦' # Use '¦' as separator
lig-3Frames-40GB | 3 | 3 | SY12000 | SEVC40F8 | Frame1={Bay3='SEVC40F8'¦Bay6='SE20ILM'} Frame2={Bay3='SE20ILM'¦Bay6='SEVC40F8'} Frame3={Bay3='SE20ILM'¦Bay6='SE20ILM'} | HighlyAvailable
lig-3Frames-100GB | 3 | 3 | SY12000 | SECVC100F32 | Frame1={Bay3='SEVC100F32'¦Bay6='SE50ILM'} Frame2={Bay3='SE50ILM'¦Bay6='SEVC100F32'} Frame3={Bay3='SE50ILM'¦Bay6='SE50ILM'} | HighlyAvailable | [20 empty] | FinanceScope
lig-VC16GB | 1 | 2 | SY12000 | SEVCFC | Frame1={Bay2='SEVC16GbFC'¦Bay5='SEVC16GbFC'} | Redundant
lig-SAS | 1 | 1 | SY12000 | S12SAS | Frame1={Bay1='SE12SAS'¦Bay4='SE12SAS'}

## UplinkSet
ligName | fabricModuleType | name | networkType | networks | networkSets | nativeNetwork | enableTrunking | logicalPortConfigInfos | fcUplinkSpeed | loadBalancingMode | ethMode | lacpTimer | primaryPort | privateVLanDomains | consistencyChecking
#Configure UpLinkSet
# Use this sheet to define settings for UplinkSet to be created in OneView.
# If the row starts with '#' it will be ignored by the script
# For specific settings -see definition below
# LIG name | # SEVC40F8 - Virtual Connect SE 40Gb F8 Module for Synergy # SEVC100F32 - Virtual Connect SE 100Gb F32 Module for Synergy # SEVC16GbFC - Virtual Connect SE 16Gb FC Module for Synergy # SEVC32GbFC - Virtual Connect SE 32Gb FC Module for Synergy # SE12SAS - Synergy 12Gb SAS Connection Module | # UplinkSet Name | # Accepted values are: # Ethernet (Default) # FibreChannel # Tunnel # Untagged # ImageStreamer (N/A for C7000) # # Note: When assigning an Ethernet Network to an ImageStreamer Uplink Set, the network resource must be a Tagged Ethernet Network. | # network names # Use '¦' as separator | # network set names # Use '¦' as separator | # Name of the Native Ethernet Network | # Enable FC port trunking. #This parameter is only supported with HPE 16Gb or newer Virtual Connect Fibre Channel fabric modules | # Syntax is: # FlexFabric ----> BAY1:X5¦BAY2:X5 # # VC Fibre Channel ---> BAY3:1¦BAY3:2 # # Synergy VC ---> Enclosure1:Bay3:Q1¦Enclosure1:Bay3:Q2¦Enclosure2:Bay6:Q1¦Enclosure2:Bay6:Q2 # # Synergy VC Sub-Interface ----> Enclosure1:Bay3:Q1.1¦Enclosure1:Bay3:Q2.1¦Enclosure2:Bay6:Q1.2¦Enclosure2:Bay6:Q2.2 # # Use ¦ as separator | # Fibre Channel only #Specify the desired Speed for Uplink port #Possible values are: # Auto # 2, 4,8,16,32 or # 2G, 4G, 8G, 16G, 32G | #When configuring Synergy Virtual Connect uplink sets, the LACP load balancing algorithm can be modified. # Sets the LACP mode on the uplink ports # Valid for ETHERNET Uplinks only # Accepted Values: #None #DestinationIp #DestinationMac #SourceAndDestinationIp #SourceAndDestinationMac #SourceIp #SourceMac | # Sets the LACP mode on the uplink ports # Valid for ETHERNET Uplinks only # Accepted Values: # Auto (Default) # Failover | # Set the LACP Timer value, which sets the lacpdu frequecy to the LACP peer # Accepted Values: # Short (Default) # Long | # Specify the Primary Uplink Port when EthernetMode is set to FAILOVER. # Parameter is not valid when EthMode parameter is set to Auto |  | #Use to indicate if the group policy will be tracked to with the deployed and configured resource.
lig-3Frames-40GB | SEVC40F8 | UplinkSet_0 | Ethernet | PROD_116¦PROD_150¦PROD_160¦PROD_170¦PROD_210¦PROD_220¦PROD_221¦PROD_230¦PROD_240 | Production Networks |  | FALSE | Enclosure1:Bay3:Q1.1¦Enclosure1:Bay3:Q2.1¦Enclosure2:Bay6:Q1.1¦Enclosure2:Bay6:Q2.1 |  | SourceAndDestinationMac | Auto | Short |  |  | Exact
lig-3Frames-40GB | SEVC40F8 | Management | Ethernet | Management |  |  | FALSE | Enclosure1:Bay3:Q4.1¦Enclosure1:Bay3:Q4.1¦Enclosure2:Bay6:Q4.1¦Enclosure2:Bay6:Q4.1 |  | SourceAndDestinationMac | Auto | Short |  |  | Exact
lig-VC16GB | SEVCFC | SAN_A | FibreChannel | FC_A |  |  | FALSE | Bay2:1¦Bay2:2 | 8G | [5 empty] | Exact
lig-VC16GB | SEVCFC | SAN_B | FibreChannel | FC_B |  |  | FALSE | Bay5:1¦Bay5:2 | 8 | [5 empty] | Exact

## NotUsed-Ligsnmp
communityString | blank1 | trapDestination | port | snmpFormat | trapSeverities | enetTrapCategories | fcTrapCategories | notificationType | engineId | trapsnmpV3User | blank2 | snmpV3User | securityLevel | authenticationProtocol | authenticationPassphrase | privacyProtocol | privacyPassphrase
#Configure snmp
# Use this sheet to define settings for # snmp to be created in OneView.
# If the row starts with '#' it will be ignored by the script
# For specific settings - See Definition below
# name of communityString |  | # list of trap destination IP addresses # Use '¦ as separator | # list of trap destination port number # Use '¦ as separator | # for each trap, specify format. Possible values: # snmpV1 #snmpV2 # snmpV3 # format is: # snmpV1¦snmpV2 | # for each trap, specify Severities to generate traps for ethernet traffic # Possible values are: # Critical # Info # Major # Minor # Normal # Unknown # Warning # format is: # (Info,Normal) ¦ (Major,Minor) | # for each trap, specify Severities to generate traps for ethernet traffic # Possible values are: # Other # PortStatus #PortThresholds # format is: # (portStatus,portThresholds) ¦ (portStatus) | # for each trap, specify Severities to generate traps for FC traffic # Possible values are: # Other # PortStatus # format is: # (Other,portStatus) ¦ (portStatus) | # for each trap, indicate whether the trap should be inform message or not. Allowed values: # Inform # Trap # format is: Inform¦Trap | # The EngineId of remote SNMPv3 user. # Only applicable when configuring an SNMPv3 object for the appliance | # for each trap, speicfy snmpV3 user if use snmpV3 # Use '¦' as separator |  | # Specify snmpV3 user names # Use '¦'as separator | # Specify snmpV3 security level for each user # Use '¦'as separator #Possible values: #None #AuthOnly #AuthAndPriv | # Possible values are: # None # MD5 # SHA # SHA1 # SHA256 # SHA384 # SHA512 # Use '¦'as separator | # password for each user using Auth Protocol # Use '¦'as separator | # Possible values are: # None # des56 # 3des # aes128 # aes192 # aes256# Use '¦'as separator | # password for each user using privacy Protocol # Use '¦'as separator

## NotUsed-logicalSwitchGroup
name | switchType | numberofSwitches | scopes
# Configure Logical Switch Groups
# Use this sheet to define settings forLogical Switch Group to be created in OneView.
# If the row starts with '#' it will be ignored by the script
# For specific settings - See Definition below
# name | # name of supported switches: # Arista 7050X DCS # Arista 7060X DCS # Arista 7160X DCS # Arista 7260X DCS # Cisco 9xxx ACI N9K | # 1 or 2 | # List of scopes separated by '¦' # Use '¦' as separator

## NotUsed-logicalSwitch
name | logicalSwitchGroup | managed | switch1Address | switch2Address | sshUsername | sshPassword | snmpType | snmpPort | snmpCommunity | snmpV3User | snmpAuthLevel | snmpAuthProtocol | snmpAuthPassword | snmpPrivProtocol | snmpPrivPassword
# Configure Logical Switch
# Use this sheet to define settings forLogical Switch to be created in OneView.
# If the row starts with '#' it will be ignored by the script
# For specific settings - See Definition below
# name | #name of logical switch group | # TRUE --> logical switch will be managed by OV # FALSE --> logical switch will be monitored by OV | # IP address or FQDN of switch | # IP address or FQDN of switch | # ssh UserName |  | Possible values: # snmpV1 or snmpV3 | # if snmpV1 is used, # specify UDP port configured to listen on the target Switch resource | # name of community String if snmpV1 is used | # Name of snmpv3 user if snmpV3 is used | # Specify snmpV3 security level #Possible values: #AuthOnly #AuthAndPriv | # Possible values are: # MD5 # SHA | # password for Auth Protocol | # Possible values are: # des56 # aes128 | # password for privacy Protocol

## STORAGE section
Storage folder divider

## NotUsed-sanManager
name | type | userName | password | useSSL | port | snmpUserName | snmpAuthLevel | snmpAuthProtocol | snmpAuthPassword | snmpPrivProtocol | snmpPrivPassword
# Configure SAN Manager
# Use this sheet to define settings for SAN Manager to be created in OneView.
# If the row starts with '#' it will be ignored by the script
# For specific settings - See Definition below
# FQDN or IP Address of the SAN Manager | # Supported SAN Managers are # bna or Brocade Network Advisor # HP (HPN 5900CP or HPN 5900AF) # Cisco | # Sepcify username /password and port if SAN manager uses credential |  | #TRUE or FALSE | # TCP Port of the SAN Manager # The default port for Brocade Network Advisor is "5989" # The default port for HPN 5900CP is "161" | # Name of snmpv3 user | # Specify snmpV3 security level #Possible values: #None #AuthOnly #AuthAndPriv | # Possible values are: # MD5 # SHA | # password for Auth Protocol | # Possible values are: # DES # AES | # password for privacy Protocol
172.18.20.1 | Cisco |  |  |  |  | dcs-MD5 | AuthOnly | MD5 | dcsdcsdcs
172.18.20.2 | Cisco |  |  |  |  | dcs-MD5 | AuthOnly | MD5 | dcsdcsdcs

## NotUsed-storageSystem
name | family | domain | userName | password | portGroups | ports | vips | showSystemDetails | storagePool
# Configure Storage Systems
# Use this sheet to define settings for Storage Systems to be created in OneView.
# If the row starts with '#' it will be ignored by the script
# For specific settings - See Definition below
# FQDN or IP Address of the SAN Manager | # Specify the type of Storage System to add: # StoreVirtual # StoreServ #Nimble | # Specify the HP 3PAR Virtual Domain name. #Default is "NO DOMAIN" # The value provided is CAsesEnSItive. | # Specify administrator username to the storageSystem | # Specify administrator password to the storageSystem | # Specify the Host Ports to group together # Example: 1:1:1=PG1 ¦ 2:2:2=PG2 | # Specify the Host Ports and associated network # Example: 1:1:1=FC-A ¦ 2:2:2=FC-B | # Specify the StoreVirtual VIP(s) and associated Ethernet Network # 10.158.11.42 = IscsiNetwork1 # 10.158.12.42 = IscsiNetwork2 | # TRUE/FALSE | # List of storage pools to be managed # Use '¦'as separator
172.18.11.11 | StoreServ | TestDomain | dcs | dcs |  |  |  | TRUE | CPG-SSD¦CPG-SSD-AO
172.18.11.12 | StoreServ | ScaleTestingDomain | dcs | dcs |  |  |  | TRUE | ScaleTestingDomain_CPG_1¦ScaleTestingDomain_CPG_2
172.18.30.1 | StoreVirtual |  | dcs | dcs |  |  | 172.18.30.1=iSCSI-A
172.18.30.2 | StoreVirtual |  | dcs | dcs |  |  | 172.18.30.2=iSCSI-B
172.18.30.3 | StoreVirtual |  | dcs | dcs |  |  | 172.18.30.3=iSCSI-C | TRUE

## NotUsed-volumeTemplate
name | description | storagePool | lockStoragePool | snapshotStoragePool | lockSnapshotStoragePool | storageSystem | provisioningType | lockProvisionType | capacity | lockCapacity | enableAdaptiveOptimization | lockAdaptiveOptimization | cachePinning | lockCachePinning | dataTransferLimit | lockDataTransferLimit | enableCompression | lockEnableCompression | enableDeduplication | lockEnableDeduplication | enableEncryption | lockEnableEncryption | folder | lockFolder | IOPSLimit | lockIOPSLimit | performancePolicy | lockPerformancePolicy | dataProtectionLevel | lockProtectionLevel | shared | lockProvisionMode | volumeSet | lockVolumeSet | scopes
# Configure Storage Volume Templates
# Use this sheet to define settings for Storage volume templates to be created in OneView.
# If the row starts with '#' it will be ignored by the script
# For specific settings - See Definition below
# volume Template name |  | # StoragePool name | # to lock the value in the template # TRUE/FALSE | # Specify the Storage Pool (aka CPG) the Storage Volume Template will use for volume snapshot use # The provided Storage Pool must already be managed by OneView # If you omit this value, then the StoragePool parameter value will be used # Only supported with HPE StoreServe platforms | # to lock the value in the template # TRUE/FALSE | # If there are multiple Storage Pool resources with the same name, use this parameter to filter for the correct pool object # Also be to get PerformancePolicy for Nimble storage System | # Allowed values: # Thin # Full # TPDD (thin provision Dedup - Only available for HPE StoreServ storage systems with SSD storage pools ) | # to lock the value in the template # TRUE/FALSE | # Max volume capacity in GB. e.g. 20 to specify 20GB # Default is 1 GB | # to lock the value in the template # TRUE/FALSE | # TRUE/FALSE # Only supported with StoreVirtual | # to lock the value in the template # TRUE/FALSE | # This is applicable for hybrid (a mix of flash and mechanical storage) arrays. # and provides a 100 percent cache hit rate for specific volumes (for example, volumes dedicated to critical applications) # and delivers the response times of an all-flash storage system # A volume is pinned when the entire active volume is placed in cache; associated snapshot (inactive) blocks are not pinned # All incoming data after that point is pinned. The number of volumes that can be pinned is limited by the size of the volumes and amount of available cache. | # to lock the value in the template # TRUE/FALSE | # Specify the data transfer limit in MiB/S. | # to lock the value in the template # TRUE/FALSE | # Enable compression for StoreServe (3PAR) supported resources # TRUE/FALSE | # to lock the value in the template # TRUE/FALSE | # Enable deduplication for SSD-based Storage Pools (CPG) # TRUE/FALSE | # to lock the value in the template # TRUE/FALSE | # When the storage system has encryption enabled, the volume can also be encrypted # Specify if the volume should be encrypted during creation # TRUE/FALSE | # to lock the value in the template # TRUE/FALSE | # Specify the Nimble folder where the volume should be created # To get availabe folder objects, use the Get-HPOVStoragePool Cmdlet # Folders are defined as a device specific attribute | # to lock the value in the template # TRUE/FALSE | # When enabling IOPS limit, provide a value that is greater than or equal to 256 | # to lock the value in the template # TRUE/FALSE | # A Nimble Performance Policy is associated with a storage system # Using Show-HPOVStorageSystemPerformancePolicy, choose an available performance policy | # to lock the value in the template # TRUE/FALSE | # Specify the StoreVirtual protection level (aka Network RAID) for the volume # Allowed values are: # NetworkRaid0None # NetworkRaid5SingleParity # NetworkRaid10Mirror2Way # NetworkRaid10Mirror3Way # NetworkRaid10Mirror4Way # NetworkRaid6DualParity | # to lock the value in the template # TRUE/FALSE | # Could be provisionMode # TRUE/FALSE | # to lock the value in the template # TRUE/FALSE | # ]Use to specify a Volume Set the volume will be associated with | # to lock the value in the template # TRUE/FALSE
svt-AO-3PAR | test svt onwith AO | CPG-SSD-AO | TRUE | CPG-SSD-AO | TRUE |  | Full | FALSE | 3 | TRUE | [20 empty] | TRUE | TRUE
svt-prot-AO | test | Cluster-1 | TRUE |  |  |  | Full | TRUE | 4 | TRUE | TRUE | TRUE | [16 empty] | NetworkRaid10Mirror2Way | TRUE | TRUE | TRUE

## NotUsed-volume
name | description | volumeTemplate | blank | storagePool | snapshotStoragePool | storageSystem | provisioningType | capacity | enableAdaptiveOptimization | cachePinning | dataTransferLimit | lockDataTransferLimit | enableCompression | enableDeduplication | enableEncryption | folder | IOPSLimit | performancePolicy | dataProtectionLevel | shared | volumeSet | lockVolumeSet | scopes
# Configure Storage Volumes
# Use this sheet to define settings for Storage volumes to be created in OneView.
# If the row starts with '#' it will be ignored by the script
# For specific settings - See Definition below
# volume Template name |  | # volume template name to be created from # Note: if template is specified, all other attributes can be blank |  | # StoragePool name | # Specify the Storage Pool (aka CPG) the Storage Volume Template will use for volume snapshot use # The provided Storage Pool must already be managed by OneView # If you omit this value, then the StoragePool parameter value will be used # Only supported with HPE StoreServe platforms | # If there are multiple Storage Pool resources with the same name, use this parameter to filter for the correct pool object # Also be to get PerformancePolicy for Nimble storage System | # Allowed values: # Thin # Full # TPDD (thin provision Dedup - Only available for HPE StoreServ storage systems with SSD storage pools ) | # Max volume capacity in GB. e.g. 20 to specify 20GB # Default is 1 GB | # TRUE/FALSE # Only supported with StoreVirtual | # This is applicable for hybrid (a mix of flash and mechanical storage) arrays. # and provides a 100 percent cache hit rate for specific volumes (for example, volumes dedicated to critical applications) # and delivers the response times of an all-flash storage system # A volume is pinned when the entire active volume is placed in cache; associated snapshot (inactive) blocks are not pinned # All incoming data after that point is pinned. The number of volumes that can be pinned is limited by the size of the volumes and amount of available cache. | # Specify the data transfer limit in MiB/S. | # to lock the value in the template # TRUE/FALSE | # Enable compression for StoreServe (3PAR) supported resources # TRUE/FALSE | # Enable deduplication for SSD-based Storage Pools (CPG) # TRUE/FALSE | # When the storage system has encryption enabled, the volume can also be encrypted # Specify if the volume should be encrypted during creation # TRUE/FALSE | # Specify the Nimble folder where the volume should be created # To get availabe folder objects, use the Get-HPOVStoragePool Cmdlet # Folders are defined as a device specific attribute | # When enabling IOPS limit, provide a value that is greater than or equal to 256 | # A Nimble Performance Policy is associated with a storage system # Using Show-HPOVStorageSystemPerformancePolicy, choose an available performance policy | # Specify the StoreVirtual protection level (aka Network RAID) for the volume # Allowed values are: # NetworkRaid0None # NetworkRaid5SingleParity # NetworkRaid10Mirror2Way # NetworkRaid10Mirror3Way # NetworkRaid10Mirror4Way # NetworkRaid6DualParity | # Could be provisionMode # TRUE/FALSE | # ]Use to specify a Volume Set the volume will be associated with | # to lock the value in the template # TRUE/FALSE
vol1 | test svt onwith AO |  |  | CPG-SSD-AO | CPG-SSD-AO |  | Full | 3 | [11 empty] | TRUE
vol2 | test |  |  | Cluster-1 |  |  | Full |  | TRUE | [9 empty] | NetworkRaid10Mirror2Way | TRUE
vol3 | with volume template | svt-AO-3PAR

## NotUsed-logicalJBOD
name | description | sasResource | numberofDrives | driveType | maxDriveSize | minDriveSize | eraseDataOnDelete | scopes
# Configure logical JBOD
# Use this sheet to define settings for logical JBOD to be created in OneView.
# If the row starts with '#' it will be ignored by the script
# For specific settings - See Definition below
|  | # When creating JBOD, you can specify a logical SAS interconnect or SAS drive enclosure | # Specify the number of drives the system should allocate | # Specify the interface type for drives that will be used to build the logical drive # Supported values depend on the local storage capabilities of the selected server hardware type # Allowed values are: # SAS # SATA # SASSSD # SATASSD | # Specify the min and max drive size for the system to locate drive availability # Size is in GB | # Specify the min and max drive size for the system to locate drive availability # Size is in GB | # TRUE/FALSE
JBOD1 | use SAS interconnect | 3Frames-LIG-SAS-1 | 3 | SAS | 1864 | 1 | TRUE
JBOD2 | Use Drive Enclosure | 0000A66103, bay 1 | 3 | SASSSD | 3276 | 1 | FALSE

## SERVERS section
SERVERS folder divider

## EnclosureGroup
name | logicalInterConnectGroupMapping | enclosureCount | ipV4AddressingMode | ipV4Range | ipV6AddressingMode | ipV6Range | powerMode | deploymentMode | deploymentNetwork | scopes
#Configure EnclosureGroup
# Use this sheet to define settings for EnclosureGroup to be created in OneView.
# If the row starts with '#' it will be ignored by the script
# For specific settings -see defintion below
| # Enclosure1=LIG1 # for VC Ethernet with multiple Enclosures: # Enclosure1=LIG-SAS,LIG-Eth¦Enclosure2=LIG-Eth¦Enclosure3=LIG-FC,LIG-SAS # use '¦'as separator |  | # Possible Values: # AddressPool # DHCP (default) # External | # Specify IP address pools only if ipAddressingMode = AddressPool # # use '¦'as separator # range_1¦range_2 | # Possible Values: # AddressPool # DHCP # External # Default: None | # Specify IP address pools only if ipAddressingMode = AddressPool # # use '¦'as separator # range_1¦range_2 | # Possible Values: # RedundantPowerFeed - Provides N+N Power Redundancy Configuration # RedundantPowerSupply - Provided N+1 Power Redundancy Configuration | # Settings for OS Deployment network # Possible values: # Internal # External | # if External, specify network for OS deployment | # List of scopes separated by '¦' # Use '¦' as separator
EG-3F-VC40F8 | Frame1=lig-SAS,LIG-3Frames-40GB,lig-VC16GB¦Frame2=LIG-3Frames-40GB,lig-VC16GB¦Frame3=LIG-3Frames-40GB,lig-VC16GB | 3 | AddressPool | prod_subnet¦deploy_subnet |  |  | RedundantPowerFeed

## LogicalEnclosure
name | enclosureSerialNumber | enclosureName | enclosureGroup | fwBaseline | fwInstall | scopes
#Configure Logical Enclosure
# Use this sheet to define settings for Logical Enclosure to be imported in OneView.
# If the row starts with '#' it will be ignored by the script
# For specific settings -see definition below
#Logical Enclosure name | # list of enclosure serial numbers that make up a logical enclosures # Use '¦'as separator | # list of enclosure names that make up a logical enclosures # if name is different than S/N, import operation will rename the enclosures # Use '¦'as separator | # Enclosure Group Name | #Provide the Firmware Baseline NAME file to use with the Logical Enclosure | # Possible values: # True/False # True --> force the installation of firmware if the same version is found | # List of scopes separated by '¦' # Use '¦' as separator
LE-RACK32 | 0000A66101¦0000A66102¦0000A66103 | Synergy-Encl-1¦ Synergy-Encl-2¦ Synergy-Encl-3 | EG-3F-VC40F8 | HPE Synergy Custom SPP 201912 2020 01 25 | TRUE | FinanceScope

## ProfileTemplate
name | description | serverProfileDescription | serverHardwareType | enclosureGroupName | affinity | manageFirmware | firmwareConsistencyChecking | firmwareBaselineName | firmwareInstallType | forceInstallFirmware | firmwareActivationType | firmwareSchedule | manageConnections | connectionConsistencyChecking | manageLocalStorage | localStorageConsistencyChecking | manageSANStorage | SANStorageConsistencyChecking | manageBootMode | bootModeConsistencyChecking | mode | pxeBootPolicy | secureBoot | manageBootOrder | bootOrderConsistencyChecking | order | manageBios | biosConsistencyChecking | overriddenSettings | manageMp | mpConsistencyChecking | macType | wwnType | serialNumberType | iscsiInitiatorNameType | hideUnusedFlexNics | scopes
#Configure Server profile per Rack
# Use this sheet to define settings for Server profile to be imported in OneView.
# If the row starts with '#' it will be ignored by the script
# For specific settings -see definition below
#
# ProfileTemplate name |  |  | # Name of server Hardware Type | # Name of Enclosure Group # Only for Blade Servers | # In a server profile, the Affinity control sets the remove-and-replace behavior for blade servers # Accepted values are # Bay # BayAndServer # Default is 'Bay' # Only for Blade Servers | # True / False # Enable Firmware Management. # Cannot be enabled with Server Hardware Type does not support Firmware Management (i.e. BL G7) # If ' NO' , all the FW* settings will be ignored | # Apply for Template only # Possible values: # Exact ( for Exact Match) # None ( for Not checked) # Internal attribute: complianceControl | # Firmware baseline to assign | # Define the mode a firmware baseline will be deployed. Allowed values: # FirmwareOnly - Updates the firmware without powering down the server hardware using using HP Smart Update Tools. # FirmwareAndOSDrivers - Updates the firmware and OS drivers without powering down the server hardware using HP Smart Update Tools. # FirmwareOnlyOfflineMode - Manages the firmware through HPE OneView. Selecting this option requires the server hardware to be powered down. | # Using this parameter will force the bundled firmware components to install when the Server Profile is applied to a server. # This will downgrade firmware if the component firmware is newer than what the SPP Baseline contains. # If omitted, then the connection is not bootable, and -priority is set to NotBootable. # True / False | # Scheduled or not # Allowed values are: # Immediate # Scheduled # NotScheduled # Default: NotScheduled | # If firmwareActivation type is set to Scbheduled | # True / False # Enable management of connections | # Apply for Template only # Possible values: # Exact ( for Exact Match) # None ( for Not checked) # Minimum ( for minimum Match) # Internal attribute: complianceControl | # True / False # Enable management of local Storage | # Consistency Checking for Local Storage # Apply for Template only # Possible values: # Exact ( for Exact Match) # None ( for Not checked) # Internal attribute: complianceControl | # True / False # Enable management of local Storage | # Consistency Checking for Local Storage # Apply for Template only # Possible values: # Exact ( for Exact Match) # None ( for Not checked) # Minimum ( for minimum Match) # Internal attribute: complianceControl | # Enable setting for boot mode # True/False | # Apply for Template only # Possible values: # Exact ( for Exact Match) # None ( for Not checked) # Internal attribute: complianceControl | # Specify the Gen9 Boot Environment. # Sets the boot mode as one of the following: # UEFI # UEFIOptimized # BIOS # Default : BIOS #Note: Applies only for Gen9 or above | # Controls the ordering of the network modes available to the Flexible LOM (FLB); for example, IPv4 and IPv6. # Allowed values are: # Auto # IPv4 # IPv6 # IPv4ThenIPv6 # IPv6ThenIPv4 # Default: Auto | # Enable secure boot #Unamaged/Enabled/Disabled # for Gen10 or newer # only if bootmode = 'UEFI Optimized' | # Enable settings for boot order # True/False # NOTE: if manageBoot is used, manageMode must be set to True | # Apply for Template only # Possible values: # Exact ( for Exact Match) # None ( for Not checked) # Internal attribute: complianceControl | # Boot Order settings to be managed # Gen7/8 BIOS Default Boot Order: CD¦Floppy¦USB¦HardDisk¦PXE # Gen9 Legacy BIOS Boot Order: CD¦USB¦HardDisk¦PXE # Gen9 UEFI Default Boot Order: HardDisk # # Note: Gen9 UEFI boot values: HardDisk or PXE or SD | # True or False | # Apply for Template only # Possible values: # Exact ( for Exact Match) # None ( for Not checked) # Internal attribute: complianceControl | # List of BIOS attributes you want to modify # The syntax is : #id=ID1;Value=Value1 ¦ id=ID2;Value=Value2 #Note: Works only for Server Gen 8 or later # To get a sense of ID and values ofr each setting, use the following techniques: # $ThisSHT = Get-HPOVServerHardwareType -name " A given Hardware Type" # This.SHT.BIOSSettings ¦ select id, DependencyList #Note: id and value must be in lowercase # TO BE TESTED | # Manage iLO settings | # Apply for Template only # Possible values: # Exact ( for Exact Match) # None ( for Not checked) # Internal attribute: complianceControl | # Optional setting for MAC assignment. # Possible values: # Virtual # Physical # Use Virtual if you need to specify a UserDefined value when using the New-HPOVServerProfileConnection helper CMDLET | # Optional setting for WWN assignment. # Possible values: # Virtual # Physical # Use Virtual if you need to specify a UserDefined value when using the New-HPOVServerProfileConnection helper CMDLET | # Optional setting for serial number and UUID assignment. # Possible values: # Virtual # Physical # UserDefined | # Sepcify csutom Initiator Name | #This setting provides the ability to hide unused FlexNICs from the operating system. # True / False # Defaul is : True | # List of scopes separated by '¦' # Use '¦' as separator
HPE Synergy 480 Gen10 with Local Boot for RSOE Template | Server Profile for HPE Synergy 480 Gen10 Compute Module with Local Boot for RSOE | Server Profile for HPE Synergy 480 Gen10 Compute Module with Local Boot for RSOE | SY 480 Gen10 1 | EG-3F-VC40F8 | Bay | TRUE | Exact | HPE Synergy Custom SPP 201912 2020 01 25 | FirmwareOnlyOfflineMode | TRUE | Immediate |  | TRUE | Exact | FALSE | Exact |  |  | TRUE | Exact | UEFIOptimized | Auto | Unmanaged | TRUE | Exact | HardDisk | TRUE | Exact | id=MemPatrolScrubbing;value=Disabled¦ id=UncoreFreqScaling;value=Maximum¦ id=NumaGroupSizeOpt;value=Clustered¦ id=WorkloadProfile;value=LowLatency¦ id=ProcX2Apic;value=Disabled¦ id=MinProcIdlePower;value=NoCStates¦ id=MinProcIdlePkgState;value=NoState¦ id=ProcTurbo;value=Disabled¦ id=EnergyPerfBias;value=MaxPerf¦ id=EnergyEfficientTurbo;value=Disabled¦ id=IntelProcVtd;value=Disabled¦ id=PowerRegulator;value=StaticHighPerf¦ id=ProcVirtualization;value=Disabled¦ id=Sriov;value=Disabled¦ id=CollabPowerControl;value=Disabled¦ id=IntelUpiPowerManagement;value=Disabled | TRUE | Exact | Virtual | Virtual | Virtual |  | TRUE
[17 empty] | FALSE | Exact
[17 empty] | TRUE | Exact

## Profile
name | description | serverProfileTemplate | serverHardware | NuLL | serverHardwareType | enclosureGroupName | affinity | manageFirmware | firmwareBaselineName | firmwareInstallType | forceInstallFirmware | firmwareActivationType | firmwareSchedule | manageConnections | manageLocalStorage | manageSANStorage | manageBootMode | mode | pxeBootPolicy | secureBoot | manageBootOrder | order | manageBios | overriddenSettings | manageMp | macType | wwnType | serialNumberType | iscsiInitiatorNameType | hideUnusedFlexNics | scopes
#Configure Server profile per Enclosure
# Use this sheet to define settings for Server profile to be imported in OneView.
# If the row starts with '#' it will be ignored by the script
# For specific settings - read the comments on the first cell in the column for possible values
#
# Profile name |  | # Profile Template NAME if profile is created from this template | # The server hardware resource where the new profile is to be applied. # Usually get from Get-HPOVServer # NAME of server Hardware |  | # Name of server Hardware Type | # Name of Enclosure Group # Only for Blade Servers | # In a server profile, the Affinity control sets the remove-and-replace behavior for blade servers # Accepted values are # Bay # BayAndServer # Default is 'Bay' # Only for Blade Servers | # True / False # Enable Firmware Management. # Cannot be enabled with Server Hardware Type does not support Firmware Management (i.e. BL G7) # If ' NO' , all the FW* settings will be ignored | # Firmware baseline to assign | # Define the mode a firmware baseline will be deployed. Allowed values: # FirmwareOnly - Updates the firmware without powering down the server hardware using using HP Smart Update Tools. # FirmwareAndOSDrivers - Updates the firmware and OS drivers without powering down the server hardware using HP Smart Update Tools. # FirmwareOnlyOfflineMode - Manages the firmware through HPE OneView. Selecting this option requires the server hardware to be powered down. | # Using this parameter will force the bundled firmware components to install when the Server Profile is applied to a server. # This will downgrade firmware if the component firmware is newer than what the SPP Baseline contains. # If omitted, then the connection is not bootable, and -priority is set to NotBootable. # True / False | # Scheduled or not # Allowed values are: # Immediate # Scheduled # NotScheduled # Deafult: NotScheduled | # If firmwareActivation type is set to Scbheduled | # True / False # Enable management of connections | # True / False # Enable management of local Storage | # True / False # Enable management of local Storage | # Enable setting for boot mode # True/False | # Specify the Gen9 Boot Environment. # Sets the boot mode as one of the following: # UEFI # UEFIOptimized # BIOS # Default : BIOS #Note: Applies only for Gen9 or above | # Controls the ordering of the network modes available to the Flexible LOM (FLB); for example, IPv4 and IPv6. # Allowed values are: # Auto # IPv4 # IPv6 # IPv4ThenIPv6 # IPv6ThenIPv4 # Default: Auto | # Enable secure boot #Unamaged/Enabled/Disabled # for Gen10 or newer # only if bootmode = 'UEFI Optimized' | # Enable settings for boot order # True/False # NOTE: if manageBoot is used, manageMode must be set to True | # Boot Order settings to be managed # Gen7/8 BIOS Default Boot Order: CD¦Floppy¦USB¦HardDisk¦PXE # Gen9 Legacy BIOS Boot Order: CD¦USB¦HardDisk¦PXE # Gen9 UEFI Default Boot Order: HardDisk # # Note: Gen9 UEFI boot values: HardDisk or PXE or SD | # True or False | # List of BIOS attributes you want to modify # The syntax is : #id=ID1;Value=Value1 ¦ id=ID2;Value=Value2 #Note: Works only for Server Gen 8 or later # To get a sense of ID and values ofr each setting, use the following techniques: # $ThisSHT = Get-HPOVServerHardwareType -name " A given Hardware Type" # This.SHT.BIOSSettings ¦ select id, DependencyList #Note: id and value must be in lowercase # TO BE TESTED | # Manage iLO settings | # Optional setting for MAC assignment. # Possible values: # Virtual # Physical # Use Virtual if you need to specify a UserDefined value when using the New-HPOVServerProfileConnection helper CMDLET | # Optional setting for WWN assignment. # Possible values: # Virtual # Physical # Use Virtual if you need to specify a UserDefined value when using the New-HPOVServerProfileConnection helper CMDLET | # Optional setting for serial number and UUID assignment. # Possible values: # Virtual # Physical # UserDefined | # Sepcify csutom Initiator Name | #This setting provides the ability to hide unused FlexNICs from the operating system. # True / False # Defaul is : True | # List of scopes separated by '¦' # Use '¦' as separator
FALSE
Synergy-Encl-1-Bay11 |  | HPE Synergy 480 Gen10 with Local Boot for RSOE Template | Synergy-Encl-1, bay 11 |  | SY 480 Gen10 1 | EG-3F-VC40F8 | Bay
Synergy-Encl-2-Bay11 |  | HPE Synergy 480 Gen10 with Local Boot for RSOE Template | Synergy-Encl-2, bay 11 |  | SY 480 Gen10 1 | EG-3F-VC40F8 | Bay
TRUE
Synergy-Encl-3-Bay11 |  | HPE Synergy 480 Gen10 with Local Boot for RSOE Template | Synergy-Encl-3, bay 11 |  | SY 480 Gen10 1 | EG-3F-VC40F8 | Bay
FALSE
TRUE

## ProfileConnection
profileName | name | id | functionType | network | portId | requestedMbps | boot | priority | userDefined | mac | wwnn | wwpn | lagName | requestedVFs
#Configure connection for Server profile template
# Use this sheet to define settings for Server profile connection to be created in OneView.
# If the row starts with '#' it will be ignored by the script
# DOES NOT apply to RACK Servers (DL)
# For specific settings -see defintion below
# Name of ProfileTemplate that uses those connections | # Connection Name | # The numeric identifier for this connection. # Connections are normally numbered sequentially from 1 within each profile | # Type of network: #Ethernet or FC | # The Network (Ethernet or Fibre Channel) or Network Set resource Name to be used with this connection. | # Identifies the port (FlexNIC) used for this connection. # The port can be automatically selected by specifying 'Auto' when creating the connection. # 'None' is a valid portID for an unconfigured, and unmapped Connection. # G7 only: For LOM ports, the valid portId prefix will be "Lom" # Gen8 only: For FlexLOMs, the valid portId prefix will be "Flb" # Mezzanine adapter prefix is "Mezz" | # Requested bandwidth (in Mbps) to be used for this connection. # Default: 2500 | # Specify to configure bootable settings. # If omitted, then the connection is not bootable, and -priority is set to NotBootable. #TRUE/FALSE | # Optional boot option for this connection, but Required if -bootable is specified. # Accepted values are: # NotBootable # UseBIOS # Primary or Secondary. # When the Connection Type is Ethernet, this affects PXE boot. # If the Connection Type is FibreChannel, this enables BfS settings. | # Use to specify user defined address values # TRUE/False | # Requested MAC address of the connection | # Requested WWNN address of the connection | # Requested WWPN address of the connection | # Associated LAG | # Request number of Virtual Functions # default is 0
HPE Synergy 480 Gen10 with Local Boot for RSOE Template | MGMT_A | 1 | Ethernet | Management | Auto | 4000 | FALSE |  | FALSE
HPE Synergy 480 Gen10 with Local Boot for RSOE Template | MGMT_B | 2 | Ethernet | Management | Auto | 4000 | FALSE |  | FALSE
HPE Synergy 480 Gen10 with Local Boot for RSOE Template | PROD_A | 3 | Ethernet | Production Networks | Auto | 10000 | FALSE |  | FALSE
HPE Synergy 480 Gen10 with Local Boot for RSOE Template | PROD_B | 4 | Ethernet | Production Networks | Auto | 10000 | FALSE |  | FALSE
HPE Synergy 480 Gen10 with Local Boot for RSOE Template | FC_A | 5 | FC | FC_A | Auto | 16000 | FALSE |  | FALSE
HPE Synergy 480 Gen10 with Local Boot for RSOE Template | FC_B | 6 | FC | FC_B | Auto | 16000 | FALSE |  | FALSE

## ProfileLOCALStorage
profileName | deviceSlot | mode | initialize | writeCache | logicalJBOD | logicalDiskName | description | storageLocation | bootable | driveSelectionBy | driveType | maxDriveSize | minDriveSize | numberofDrives | raidLevel | accelerator | eraseDataOnDelete
#Configure LOCAL Storage for Server profile template
# Use this sheet to define settings for Local Storage to be imported in OneView.
# If the row starts with '#' it will be ignored by the script
# For specific settings -see defintion below
# Name of profile | # Controller ID location # Accepted values are: # Embedded # Mezz 1 # Mezz 2 # Mezz 3 | # The mode to configure the Smart Array Controller. # Accepted values are: #Mixed ( for Embedded) # HBA # RAID # When specifying HBA, you cannot also attach a Logical Disk to this policy. | # Use this parameter to re-initialize the controller. # This will wipe any existing logical disk configured for the controller and deploy the new policy defined. # # Possible values :True/False | # For Gen10 controllers, to enable, disable or unmanage controller write cache policy # Allowed values: # Enabled # Disabled # Unmanaged (default) | # specific to Server profile. # list of exisiting JBOD disks ( created in OV --> Storage--> logicalJBOD ) to attach to controllers in server profile ONLY #Use '¦' as separator | # Specify Logical Disk name attached to this controller # One row for each disk attached to the same controller # Must be unique within the Server Profile | # description for logical # One row for each disk attached to the same controller | # Possible values: Internal/External # Internal ---> HPE Synergy Compute Nodes that have the Expanded Storage option connected to an available mezzanine SmartArray controller for NVMe drives. # External ----> specify storage will be allocated from the D3940 disk shelf # One row for each disk attached to the same controller | # Indicates if the logical drive is bootable or not. # Cannot be combined with an FC or FCoE Server Profile Connection that is also set as Bootable. # Parameter is not valid with defining Synergy JBOD SAS disk policies. # Values :True/False # One row for each disk attached to the same controller | # Use to specify how the drive selection will be used. Allowed values: # DriveType - Use Get-HPOVAvailableDriveType to locate available drive types, quantity to which SAS Logical Interconnect or Drive Enclosure. # SizeAndTechnology - Use to define the attributes of the drive based on technology and min/max drive size. The -DriveType and -MinDriveSize parameters are required. for SASJBOD only # # Default: SizeAndTechnology # One row for each disk attached to the same controller | # Defines the interface type for drives that will be used to build the logical drive. #Possible values are: # Auto (not suported for D3940 or JBOD) # SAS # SATA # SASSSD # SATASSD # NVMeSata # NVMeSAS # One row for each disk attached to the same controller | # Only for HPE Synergy D3940. # If the parameter is not specified, the MinDriveSize parameter value will be used # One row for each disk attached to the same controller | # Only for HPE Synergy D3940. # Specify the minimum size disk to request # Required when driveSelectionBy = SizeAndTechnology. # One row for each disk attached to the same controller | # The number of physical drives to be used to build the logical drive. # The provided values must be consistent with the selected RAID level # and cannot exceed the maximum supported number of drives for the selected server hardware type. # # One row for each disk attached to the same controller | # The RAID level of the logical drive. # RAID0 and RAID1 ---> embedded BL disk policies # RAID5, RAID6, RAID10 ---> DL servers with SmartArray controller # RAID0, RAID1ADM, RAID10, RAID5, and RAID6 ---> HPE Synergy D3940 disk shelf # One row for each disk attached to the same controller | # For Gen10 Smart Array controllers only # Enable hardware accelerator # Possible values: # Enabled # Disabled # Umanaged (default) # One row for each disk attached to the same controller | # Indicates if the logical drive should be erased when it is deleted from or with the Server Profile. # True/False # One row for each disk attached to the same controller
# Server Profile Templates Section
HPE Synergy 480 Gen10 with Local Boot for RSOE Template | Embedded | Mixed | TRUE | Enabled |  | ld2 | logical disk 2 on Embedded Controller | Internal | FALSE |  | SATA |  |  | 2 | RAID0 | Unmanaged | FALSE
# Server ProfilesSection --> Use the same attributes as SPT section to define local storage for standalone server profile. Specific to server profile is LogicalJBOD

## Not-ProfileSANStorage
ProfileName | EnableSANstorage | HostOSType | VolumeName | LUN
#Configure SAN Storage for Server profile
# Use this sheet to define settings for Server profile connection to be created in OneView.
# If the row starts with '#' it will be ignored by the script
# DOES NOT apply to RACK Servers (DL)
# For specific settings -see definition below
# Name of profile | # Yes or No | # Specify the Host OS type, which will set the Host OS value when # HPE OneView created the Host object on the Storage System. # Note: 1 OS type for all disks # Accepted values are: # CitrixXen = "Citrix Xen Server 5.x/6.x" # AIX = "AIX" # IBMVIO = "IBM VIO Server" # RHEL4 = "RHE Linux (Pre RHEL 5)" # RHEL3 = "RHE Linux (Pre RHEL 5)" # RHEL = "RHE Linux (5.x, 6.x)" # RHEV = "RHE Virtualization (5.x, 6.x)" # VMware = "ESX 4.x/5.x" # Win2k3 = "Windows 2003" # Win2k8 = "Windows 2008/2008 R2" # Win2k12 = "Windows 2012 / WS2012 R2" # OpenVMS = "OpenVMS" # Egenera = "Egenera" # Exanet = "Exanet" # Solaris9 = "Solaris 9/10" # Solaris10 = "Solaris 9/10" # Solaris11 = "Solaris 11" # ONTAP = "NetApp/ONTAP" # OEL = "OE Linux UEK (5.x, 6.x)" # HPUX11iv1 = "HP-UX (11i v1, 11i v2)" # HPUX11iv2 = "HP-UX (11i v1, 11i v2)" # HPUX11iv3 = "HP-UX (11i v3)" # SUSE = "SuSE (10.x, 11.x)" # SUSE9 = "SuSE Linux (Pre SLES 10)" | # List of volume names # Use '¦' as separator | #List of LUN numbers Use '¦' as separator

## NotUsed-ProfileILO
ProfileName | settingType | deleteAdministratorAccount | adminPassword | userName | displayName | userPassword | userPrivileges | directoryAuthentication | directoryGenericLDAP | iloObjectDistinguishedName | directoryPassword | directoryServerAddress | directoryServerPort | directoryUserContext | kerberosAuthentication | kerberosRealm | kerberosKDCServerAddress | kerberosKDCServerPort | kerberosKeytab | groupDN | groupSID | groupPrivileges | hostName | primaryServerAddress | primaryServerPort | secondaryServerAddress | secondaryServerPort | redundancyRequired | groupName | certifcateName | loginName | keyManagerpassword
#ConfigureiLO Settings for Server profile
# Use this sheet to define settings for Server profile connection to be created in OneView.
# If the row starts with '#' it will be ignored by the script
# For specific settings -see definition below
# Name of profile | # Specify setting types for iLO # Possible values are: # AdministratorAccount # LocalAccounts # Directory # DirectoryGroups # HostName # KeyManager | # For AdministratorAccount setting only: # True/False | # For AdministratorAccount setting only: # New password for iLO admin account | # For LocalAccounts setting only: # iLO account name # Note: one name per row | # For LocalAccounts setting only: # iLO account display name # Note: one name per row | # For LocalAccounts setting only: # iLO password # Note: one password per row | # For LocalAccounts setting only: # List of permissions for iLO account # Possible values : #userConfigPriv #remoteConsolePriv #virtualMediaPriv #iLOConfigPriv #virtualPowerAndResetPriv # loginPriv # hostBIOSConfigPriv # hostNICConfigPriv # hostStorageConfigPriv #Note: Use '¦' as separator | # For Directory settings only: # Possible values are: # Disabled # Directory default # HPE Extended | # For Directory settings only: #True/False | # For Directory settings only: | # For Directory settings only: # iLO object Password | # For Directory settings only: | # For Directory settings only: | # For Directory settings only: # List of user context separated by '¦' # Ex: OU=Users,dc-host,dc=local¦OU=UsersB | # For Directory settings only: # True/False | # For Directory settings only: | # For Directory settings only: | # For Directory settings only: | # For Directory settings only: | # For DirectoryGroups settings only: Note: one group name per row | # For DirectoryGroups settings only: | # For DirectoryGroups settings only: # List of permissions for groups # Possible values : #userConfigPriv #remoteConsolePriv #virtualMediaPriv #iLOConfigPriv #virtualPowerAndResetPriv #Note: Use '¦' as separator | # For HostName only # name for the iLO server | # For KeyManager settings only: | # For KeyManager settings only: | # For KeyManager settings only: | # For KeyManager settings only: | # For KeyManager settings only: # True/False | # For KeyManager settings only: | # For KeyManager settings only: | # For KeyManager settings only: | # For KeyManager settings only:
HPE Synergy 480 Gen10 with Local Boot for RSOE Template | LocalAccounts |  |  | Roche1 | user1 | Password123# | loginPriv¦userConfigPriv
HPE Synergy 480 Gen10 with Local Boot for RSOE Template | LocalAccounts |  |  | Roche2 | user2 | Password123# | loginPriv¦userConfigPriv
HPE Synergy 480 Gen10 with Local Boot for RSOE Template | LocalAccounts |  |  | Roche3 | user3 | Password123# | loginPriv¦userConfigPriv
#

## NotUsed-DataCenter
name | width | depth | millimeters | defaultVoltage | powerCosts | currency | coolingCapacity | address1 | address2 | city | state | postCode | country | timezone | primaryContact | secondaryContact
#Configure DataCenter
# Use this sheet to define settings for datacenter to be created in OneView.
# If the row starts with '#' it will be ignored by the script
# For specific settings -see definition below
# Name of data center | # in millimeters or feet #[3.3ft ,164.04ft] or #[1meter,50 meters] | # in millimeters or feet #[3.3ft ,164.04ft] or #[1meter,50 meters] | # True/False | #voltage | #The energy cost per kWh, specified by the Currency | # $ for dollar # e for Euro | #The maximum cooling capacity for the data center, in KW. The appliance analyzes heat generation using this value. | # Need remote support settings first | # Need remote support settings first | # Need remote support settings first | # Need remote support settings first | # Need remote support settings first | # Need remote support settings first | # Need remote support settings first | # Need remote support settings first #Contact comes from Get-HPOVRemoteSupportContact | # Need remote support settings first #Contact comes from Get-HPOVRemoteSupportContact
# Test Dung
DemarkDC | 7199 | 2199 | TRUE | 220 | 0.75 | e
DemarkDC1 | 7199 | 2199 | TRUE | 220 | 0.75 | e

## NotUsed-Racks
name | rackSerialNumber | xCoordinate | yCoordinate | millimeters
#Configure racks in DataCenter
# Use this sheet to define settings for racksto be created in OneView.
# If the row starts with '#' it will be ignored by the script
# For specific settings -see definition below
# Name of data center | # serialNumber of the rack | # in millimeters or feet #[3.3ft ,164.04ft] or #[1meter,50 meters] | # in millimeters or feet #[3.3ft ,164.04ft] or #[1meter,50 meters] | # True/False
#Test
DemarkDC | 2AB100LMNB | 600 | 600 | FALSE

## NA (hidden)
profileName | name | id | functionType | network | portId | requestedMbps | boot | priority | macType | mac | wwpnType | wwnn | wwpn | lagName | requestedVFs
#Configure connection for Server profile
# Use this sheet to define settings for Server profile connection to be created in OneView.
# If the row starts with '#' it will be ignored by the script
# DOES NOT apply to RACK Servers (DL)
# For specific settings -see defintion below
# Name of ProfileTemplate that uses those connections | # Connection Name | # The numeric identifier for this connection. # Connections are normally numbered sequentially from 1 within each profile | # Type of network: #Ethernet or FC | # The Network (Ethernet or Fibre Channel) or Network Set resource Name to be used with this connection. | # Identifies the port (FlexNIC) used for this connection. # The port can be automatically selected by specifying 'Auto' when creating the connection. # 'None' is a valid portID for an unconfigured, and unmapped Connection. # G7 only: For LOM ports, the valid portId prefix will be "Lom" # Gen8 only: For FlexLOMs, the valid portId prefix will be "Flb" # Mezzanine adapter prefix is "Mezz" | # Requested bandwidth (in Mbps) to be used for this connection. # Default: 2500 | # Specify to configure bootable settings. # If omitted, then the connection is not bootable, and -priority is set to NotBootable. # True/False | # Optional boot option for this connection, but Required if -bootable is specified. # Accepted values are: # NotBootable # UseBIOS # Primary or Secondary. # When the Connection Type is Ethernet, this affects PXE boot. # If the Connection Type is FibreChannel, this enables BfS settings. | # Use to specify user defined address values # TRUE/False | # Requested MAC address of the connection | # Use to specify user defined address values # TRUE/False | # Requested WWNN address of the connection | # Requested WWPN address of the connection | # Associated LAG | # Request number of Virtual Functions # default is 0
##

## NA2 (hidden)
profileName | deviceSlot | mode | initialize | logicalDiskName | bootable | driveTechnology | raidLevel | numPhysicalDrives | accelerator | driveWriteCache
#Configure LOCAL Storage for Server profile template
# Use this sheet to define settings for Local Storage to be imported in OneView.
# If the row starts with '#' it will be ignored by the script
# For specific settings -see defintion below
# Name of profile | # Controller ID location # Accepted values are: # Embedded # Mezz 1 # Mezz 2 # Mezz 3 | # The mode to configure the Smart Array Controller. # Accepted values are: #Mixed ( for Embedded) # HBA # RAID # When specifying HBA, you cannot also attach a Logical Disk to this policy. | # Use this parameter to re-initialize the controller. # This will wipe any existing logical disk configured for the controller and deploy the new policy defined. # # Possible values :True/False | # Specify list of Logical Disk names attached to this controller # Use '¦' as separator # Must be unique within the Server Profile | # Indicates if the logical drive is bootable or not. # Cannot be combined with an FC or FCoE Server Profile Connection that is also set as Bootable. # Parameter is not valid with defining Synergy JBOD SAS disk policies. # Values : Yes / No # Use '¦' as separator for each logicalDiskName | # Defines the interface type for drives that will be used to build the logical drive. #Possible values are: # SasHdd # SataHdd # SasSsd # SataSsd # # Use '¦' as separator for each logicalDiskName | # The RAID level of the logical drive. #Supported values depend on the local storage capabilities of the selected server hardware type. # Only RAID0 and RAID1 are supported for embedded BL disk policies. #RAID5, RAID6, RAID10 are supported with DL servers with SmartArray controller that supports the RAID type. # # # Use '¦' as separator for each logicalDiskName | # The number of physical drives to be used to build the logical drive. # The provided values must be consistent with the selected RAID level # and cannot exceed the maximum supported number of drives for the selected server hardware type. # ## Use '¦' as separator for each logicalDiskName | # Enable hardware accelerator # Umanaged # For each disk use '¦' as separator | # Enable hardware WriteCache # Unmanaged # For each disk use '¦' as separator

## NA3 (hidden)
ProfileName | EnableSANstorage | HostOSType | VolumeName | LUN
#Configure SAN Storage for Server profile
# Use this sheet to define settings for Server profile connection to be created in OneView.
# If the row starts with '#' it will be ignored by the script
# DOES NOT apply to RACK Servers (DL)
# For specific settings -see definition below
# Name of profile | # Yes or No | # Specify the Host OS type, which will set the Host OS value when # HPE OneView created the Host object on the Storage System. # Note: 1 OS type for all disks # Accepted values are: # CitrixXen = "Citrix Xen Server 5.x/6.x" # AIX = "AIX" # IBMVIO = "IBM VIO Server" # RHEL4 = "RHE Linux (Pre RHEL 5)" # RHEL3 = "RHE Linux (Pre RHEL 5)" # RHEL = "RHE Linux (5.x, 6.x)" # RHEV = "RHE Virtualization (5.x, 6.x)" # VMware = "ESX 4.x/5.x" # Win2k3 = "Windows 2003" # Win2k8 = "Windows 2008/2008 R2" # Win2k12 = "Windows 2012 / WS2012 R2" # OpenVMS = "OpenVMS" # Egenera = "Egenera" # Exanet = "Exanet" # Solaris9 = "Solaris 9/10" # Solaris10 = "Solaris 9/10" # Solaris11 = "Solaris 11" # ONTAP = "NetApp/ONTAP" # OEL = "OE Linux UEK (5.x, 6.x)" # HPUX11iv1 = "HP-UX (11i v1, 11i v2)" # HPUX11iv2 = "HP-UX (11i v1, 11i v2)" # HPUX11iv3 = "HP-UX (11i v3)" # SUSE = "SuSE (10.x, 11.x)" # SUSE9 = "SuSE Linux (Pre SLES 10)" | # List of volume names # Use '¦' as separator | #List of LUN numbers Use '¦' as separator